## 3.4 Information security requir
Riferimento | Dettagli | Subcategory | Controlli | Controlli_EN
Incidents Management | Many countries pointed that incident reporting is the key for improving security planning and measures. Some countries have already built helpdesks or reporting mechanisms. | PR.IP-9 | PR.IP-9-01: sono attivi meccanisci di segnalazione di incidenti | PR. IP-9-01: Incident reporting mechanisms are active
Physical and environmental security | A basic principle for the physical protection of data is to ensure that file servers are located in secure areas safeguarded from unauthorized access and environmental threats such as fire, flood, loss of power etc. | PR.DS-1 | PR.DS-1-01: i file server si trovano in aree sicure protette da accessi non autorizzati e minacce ambientali come incendi, inondazioni, perdita di alimentazione ecc. | PR. DS-1-01: File servers are located in secure areas protected from unauthorized access and environmental threats such as fire, flood, power loss etc.
| Additionally, all equipment used to store or process critical data may be recorded and any movements tracked to ensure that any theft or loss is detected in time. | PR.PT-1 | PR.PT-1-01: tutte le apparecchiature utilizzate per archiviare o elaborare dati critici sono registrate PR.PT-1-02: qualsiasi movimento monitorato per garantire che eventuali furti o smarrimenti è rilevato in tempo. | PR. PT-1-01: All equipment used to store or process critical data is recorded PR. PT-1-02: Any movement monitored to ensure that any theft or loss is detected in time.
Network security | The network architecture and the network equipment (e.g. switches, routers, firewalls, anti-malware / anti-virus servers, security patches and updates servers, domain controllers, application servers, workstations, support laptops, event logging systems etc.) should be sufficient and meet the operational security requirements. | PR.AC-5 | PR.AC-5-01: L'architettura di rete e le apparecchiature di rete (ad es. switch, router, firewall, server antimalware/antivirus, patch di sicurezza e server di aggiornamento, controller di dominio, server applicativi, workstation, laptop di supporto, sistemi di registrazione degli eventi, ecc.) soddisfano i requisiti di sicurezza operativa | PR. AC-5-01: Network architecture and network equipment (e.g. switches, routers, firewalls, antimalware/antivirus servers, security patches and update servers, domain controllers, application servers, workstations, supporting laptops, event logging systems, etc.) meet operational security requirements
| On the other hand, network security also relates to secure data transmission. | PR.DS-2 | PR.DS-2-01: la sicurezza della rete comprende la trasmissione sicura dei dati. | PR. DS-2-01: Network security includes secure data transmission.
Access control | Some of the main requirements for a secure access to patients’ data include: a) The use of a unique identifying reference for each patient (the NHS number or similar); | PR.AC-1 | PR.AC-1-01: l'accesso ai dati dei pazienti include l'uso di un riferimento identificativo univoco per ciascun paziente (il numero del SSN o simile); | PR. AC-1-01: access to patient data includes the use of a unique identifier for each patient (the NHS number or similar);
| b) Access to the system permitted only where there is a “legitimate relationship” between the system user and the patient; | PR.AC-3; PR.AC-2 | PR.AC-3-01: l'accesso al sistema che gestisce i dati del paziente è consentito solo in presenza di un “legittimo rapporto” tra l'utente del sistema e il paziente; | PR. AC-3-01: access to the system that manages patient data is allowed only in the presence of a "legitimate relationship" between the user of the system and the patient;
| c) Registration of all users with a central authority to obtain a smartcard and a pass code (chip and pin). | PR.AC-1 | PR.AC-1-02: per accedere ai dati del paziente, tutti gli utenti sono registrati con un'autorità centrale per ottenere una smartcard e un codice di accesso (chip e pin). | PR. AC-1-02: To access patient data, all users are registered with a central authority to obtain a smartcard and an access code (chip and pin).
| d) Strict prohibitions on the sharing of access cards and passwords; | PR.AT-1 | PR.AT-1-01: l'accesso ai dati dei pazienti include severi divieti alla condivisione di tessere di accesso e password; | PR. AT-1-01: Access to patient data includes strict prohibitions on sharing access cards and passwords;
| e) “Role based” access for every registered user which defines the extent to which information can be accessed and amended. Staff will only be able to access as much information as is needed for the purpose of their role, for example, a clinic clerk may only have access to administrative information; | PR.AC-4: | PR.AC-4-01: l'accesso ai dati dei pazienti è "basato sul ruolo" per ogni utente registrato. PR.AC-4-02: Il personale accede solo alle informazioni del paziente che sono necessarie ai fini del proprio ruolo. | PR. AC-4-01: Access to patient data is "role-based" for each registered user. PR. AC-4-02: Staff only access patient information that is necessary for their role.
| f) Introduce continuous manual or automatic auditing mechanisms of accesses made by staff as a requirement | PR.AC-1 | PR.AC-1-03: è implementato un meccanismi di controllo continuo manuale o automatico degli accessi effettuati dal personale sui dati dell paziente. | PR. AC-1-03: a manual or automatic continuous control mechanism is implemented for staff access to patient data.
| g) Data classification according to access levels. | PR.AC-4: | PR.AC-4-03: i dati dei pazienti sono classificati in base ai livelli di accesso. | PR. AC-4-03: Patient data is classified according to access levels.
| h) An audit trail (accountability) whereby records are kept of all instances of access to a patient’s care record, with alerts triggered when access is not justifiable. Specific individuals will be responsible for reviewing such alerts and taking appropriate action; | PR.AC-1: | PR.AC-1-04: è implementato un sistema di audit che conservate le registrazioni di tutti i casi di accesso alla cartella clinica di un paziente, con avvisi attivati quando l'accesso non è giustificabile. PR.AC-1-05: Individui specifici sono responsabili della revisione degli avvisi del controllo (h) e dell'adozione delle misure appropriate; | PR. AC-1-04: an audit system is implemented that keeps records of all cases of access to a patient's medical record, with alerts triggered when access is not justifiable. PR. AC-1-05: Specific individuals are responsible for reviewing audit notices (h) and taking appropriate measures;
Business continuity and disaster recovery | In order to achieve business continuity in eHealth, organisations should meet several requirements: i. Regular data and software back-up procedures in order to provide contingency backup; | PR.IP-4 | PR.IP-4-01: le aziende nell'eHealth eseguono regolarmente procedure di backup dei dati e del software al fine di fornire un backup di emergenza; | PR. IP-4-01: Companies in eHealth regularly perform data and software backup procedures in order to provide an emergency backup;
| ii. Back-up copies of operational configuration files for the I.T. infrastructure including server and networked equipment (IP address ranges, firewalls, etc.) should be kept in a secure place. This will allow the quick recovery of the infrastructure if a disaster occurs. | PR.DS-1 | PR.DS-1-02: le aziende nell'eHealth conservano le copie di backup dei file di configurazione operativa per l'infrastruttura I.T., inclusi server e apparecchiature di rete (gamme di indirizzi IP, firewall, ecc.) in un luogo sicuro. | PR. DS-1-02: Companies in eHealth keep backup copies of operational configuration files for I.T. infrastructure, including servers and network equipment (IP address ranges, firewalls, etc.) in a secure location.
| iii. The option not to deploy a central EHR repository in order to reduce the risk of illegitimate large scale data availability (e.g. Austrian ELGA approach). | PR.DS-5 | PR.DS-5-01: le aziende nell'eHealth non distribuiscono l'archivio centrale di EHR al fine di ridurre il rischio di disponibilità illegittima di dati su larga scala. | PR. DS-5-01: Companies in eHealth do not deploy the central EHR repository in order to reduce the risk of illegitimate data availability at scale.
Awareness raising and training | In this direction, a very prevalent security measure is the placement of an IT security officer in every healthcare organisation. | PR.AT-5 | PR.AT-5-01: un responsabile della sicurezza informatica è inserito nella organizzazione sanitaria. | PR. AT-5-01: A cybersecurity officer is placed in the healthcare organization.
| Appropriate training on the permitted use of patient information according to the relevant requirements of data protection law. | PR.AT-1 | PR.AT-1-02: Gli utenti ricevono una formazione adeguata sull'uso consentito delle informazioni sui pazienti secondo i requisiti pertinenti della legge sulla protezione dei dati. | PR. AT-1-02: Users receive appropriate training on the permissible use of patient information according to the relevant requirements of data protection law.
Further requirements | Compliance with international standards. The use of ISO standards and relevant security measures, have been referenced (i.e. ISO 27000 series and ISO 80001), especially in the deployment of internal information systems (such as HIS/CIS). | ID.GV-1 | ID.GV-1-01: le aziende nell'eHealth sono conformi agli standard internazionali ISO e alle relative misure di sicurezza (es. serie ISO 27000 e ISO 80001), in particolare nell'implementazione di sistemi informativi interni (come HIS/CIS). | ID.GV-1-01: Companies in eHealth comply with international ISO standards and related security measures (e.g. ISO 27000 and ISO 80001 series), especially in the implementation of internal information systems (such as HIS/CIS).
| Internal and external security audits on a regular basis, in order to monitor the application of the security measures and the traces of the access in personal data. | ID.SC-4 | ID.SC-4-01: le aziende nell'eHealth eseguono audit di sicurezza interni ed esterni a cadenza regolare. | ID.SC-4-01: Companies in eHealth perform internal and external security audits on a regular basis.

## 5. Recommendations
Riferimento | Dettagli | Subcategory | Note | Controlli | Controlli_EN
Recommendation 1 | Member States should conduct an asset identification and a risk assessment activity to classify their critical eHealth infrastructures and services and develop a national catalogue. | ID.AM-5 |  | ID.AM-5-01: Gli Stati membri conducono un'attività di identificazione delle risorse e un'attività di valutazione del rischio per classificare le loro infrastrutture e servizi critici di sanità elettronica e sviluppare un catalogo nazionale. | ID.AM-5-01: Member States shall conduct resource identification and risk assessment to classify their critical eHealth infrastructures and services and develop a national catalogue.
Recommendation 2 | Member States should introduce clear cyber security guidelines for the protection of their critical eHealth infrastructures and services. | ID.GV-1 |  | ID.GV-1-02: Gli Stati membri introducono linee guida chiare sulla sicurezza informatica per la protezione delle loro infrastrutture e servizi critici di sanità elettronica. | ID.GV-1-02: Member States introduce clear cybersecurity guidelines for the protection of their critical eHealth infrastructures and services.
| Define the minimum requirements for the protection of eHealth infrastructures and assets classified as critical and include them in clear cyber security guidelines. Such guidelines may refer to specific use cases and technical infrastructures and assets commonly deployed, in terms of their protection measures. | ID.GV-1 |  | ID.GV-1-03: Gli Stati membri definiscono i requisiti minimi per la protezione delle infrastrutture e degli asset eHealth classificati come critici e li includono in chiare linee guida di sicurezza informatica. | ID.GV-1-03: Member States define minimum requirements for the protection of eHealth infrastructures and assets classified as critical and include them in clear cybersecurity guidelines.
Recommendation 3 | Member States and healthcare organisations should perform an impact/cost benefit analysis of healthcare cyber security incidents and to use this as leverage for increasing investment on eHealth systems and infrastructures security. | ID.RA-4 |  | ID.RA-4-01: Gli Stati membri e le organizzazioni sanitarie effettuano un'analisi dell'impatto/beneficio degli incidenti di sicurezza informatica sanitaria. | ID.RA-4-01: Member States and healthcare organisations carry out an impact / benefit analysis of health cybersecurity incidents.
Recommendation 4 | Member States should develop incident response mechanisms to efficiently bring together the healthcare organisations with the national cyber security competent centres. | PR.IP-9 |  | PR.IP-9-02: Gli Stati membri sviluppano meccanismi di risposta agli incidenti per unire in modo efficiente le organizzazioni sanitarie con i centri nazionali competenti in materia di sicurezza informatica. | PR. IP-9-02: Member States develop incident response mechanisms to efficiently unite healthcare organisations with national cybersecurity centres.
| an eHealth focused Computer Emergency Response Team should be created, which could potentially collaborate with the national CERT on incident handling. Feedback directly to the eHealth service users (e.g. clinicians) is extremely important for their continued engagement. | ID.GV-2; ID.AM- 6 |  | ID.GV-2-01: è creato un team di risposta alle emergenze informatiche incentrato sull'eHealth, ID.GV-2-02: il team di risposta alle emergenze collabora con il CERT nazionale sulla gestione degli incidenti. | ID.GV-2-01: An eHealth Cyber Emergency Response Team is established, ID.GV-2-02: The emergency response team works with the national CERT on incident management.
| In terms of eHealth incident handling and hazard control, further steps need to be taken: - Systems for reporting and analysing incidents both locally and nationally, | RS.AN-1; RS.AN-5 |  | RS.AN-1-01: sono implementati sistemi per la segnalazione e l'analisi degli incidenti sia a livello locale che nazionale, | RS. AN-1-01: systems for reporting and analysis of incidents are implemented both locally and nationally,
| - A good in-depth analysis process to establish root causes for selected individual incidents and aggregate incident reviews, thus enabling learning, | RS.AN-3 |  | RS.AN-3-01: è implementato un processo di analisi approfondita per stabilire le cause profonde di singoli incidenti selezionati e aggregare le revisioni degli incidenti. | RS. AN-3-01: An in-depth analysis process is implemented to establish the root causes of selected individual incidents and aggregate incident reviews.
| - A process to ensure that actions are implemented and corresponding improvements in eHealth safety can be demonstrated, | RS.IM-2 |  | RS.IM-2-01: È dimostrato un processo per garantire l'attuazione delle azioni e i corrispondenti miglioramenti nella sicurezza dell'eHealth, | RS. IM-2-01: A process to ensure the implementation of actions and corresponding improvements in eHealth security is demonstrated,
| - Redefinition of compensation systems (punitive or non-punitive) and their impact on the patient safety culture and achievements. | N/A
Recommendation 5 | Member States and healthcare organisations should setup an information sharing mechanism to start exchanging knowledge and lessons learnt on cyber security issues i.e. how they mitigate incidents, which are the security measures they take etc. | DE.DP-4 |  | DE.DP-4 -01: Gli Stati membri e le organizzazioni sanitarie istituiscono un meccanismo di condivisione delle informazioni per scambiare conoscenze e lezioni apprese sulle questioni di sicurezza informatica | DE. DP-4 -01: Member States and health organisations set up an information-sharing mechanism to exchange knowledge and lessons learned on cybersecurity issues
Recommendation 6 | To offer assistance to the healthcare practitioners and bodies, baseline security measures could be set by competent European authorities (national regulators, national security agencies etc.). Depending on the existing frameworks, these could be binding and mandatory through ad hoc legislation (thus requiring monitoring and auditing mechanisms to be in place) or through non-mandatory guidelines. | N/A | da rivedere per la prospettiva per cui vengono create
Recommendation 7 | Member States need to implement widely accepted security standards to achieve interoperability. | N/A | da rivedere per la prospettiva per cui vengono create
| Define a set of must have integration profiles to establish secure connections over the network, specifically in the domains of audit logs, data encryption, TSL assertions, access rights policy, eID, healthcare providers’ registries, and many more related to data integrity and resilience of systems. | PR.DS-2; PR.AC-3 |  | PR.DS-2-02: sono definiti un insieme di profili di integrazione indispensabili per stabilire connessioni sicure sulla rete, in particolare nei domini dei log di controllo, crittografia dei dati, asserzioni TSL, policy sui diritti di accesso, eID, registri degli operatori sanitari e molti altri relativi all'integrità e resilienza dei dati di sistemi. | PR. DS-2-02: A set of integration profiles are defined that are essential for establishing secure connections on the network, particularly in the domains of audit logs, data encryption, TSL assertions, access rights policies, eIDs, HCP logs, and many others related to the integrity and resilience of system data.
Recommendation 8 | Member States should invest in raising awareness of the citizens and healthcare organisations in providing cyber security training to personnel and users. | PR.AT-1 |  | PR.AT-1-03: Gli Stati membri investono nella sensibilizzazione dei cittadini e delle organizzazioni sanitarie nel fornire formazione sulla sicurezza informatica al personale e agli utenti. | PR. AT-1-03: Member States invest in raising awareness among citizens and health organisations when providing cybersecurity training to staff and users.